Topic D - Medical Physics

4. (a) On a copy of the axes opposite sketch a graph showing how

the intensity I of an X-ray beam varies with distance r from a

point X-ray source in air. (2)

If the X-ray intensity is 7.0 MW m-2 at a distance of 0.20 m from

the source, calculate the intensity at a distance of 2.0 m

from the source. (3)

(b) Complete a copy of

the table opposite to

compare α, β and γ

radiation by ticking in

the appropriate boxes. (4)

Beta radiation can be

either positive or negative.

Phosphorus, 3215P,

decays to sulphur, S, by

β - emission. Sodium, 2411Na,

decays to neon, Ne, by β + emission.

The equations opposite show these two decays.

Complete a copy of these equations by adding the missing

nucleon and proton numbers. (3)

(c) A known quantity of a radionuclide which can label red blood cells is injected into a patient.

Describe what further steps are needed to estimate the patient's blood volume.

You may be awarded a mark for the clarity of your answer. (5)

(d) Calculate the wavelength in soft tissue of an ultrasound pulse of frequency 6.0 MHz (speed of sound in soft tissue = 1540 m s-1). (3)

Would ultrasound of this frequency be suitable for eye investigations? Explain your answer. (1)

Show that the reflection coefficient for ultrasound at a boundary between muscle and blood is approximately 1 x 10-3.

Data: Specific acoustic impedances:

The reflection coefficient at a boundary between brain tissue and blood is approximately 1 x 10-5. Use this value to explain why ultrasound can be used to investigate blood flow in muscle but not in the brain. (2)

(e) Each accelerated electron in an X-ray tube has an energy of 120 keV.

State the value of the operating voltage of this X-ray tube. (1)

Explain what happens to most of the energy of these electrons. (1)

State two features of the target anode in an X-ray tube. (2)

This tube produces X-rays with energies of the order of tens of keV.

Would these X-rays be more suitable for diagnostic or therapeutic use? Explain your answer. (2)

(Total 32 marks)