Topic D – Medical Physics

4. (a) (i) The equation  I = P / 4nr2  can be used to determine the intensity of X-rays from a source. Use this equation to show that the base units of intensity are kg s-3.  (3)

(ii) An X-ray beam has an intensity of 5.7 W mm - 2 at a distance of 0.4 m from an X-ray tube.

How far from the X-ray tube should a radiographer stand in order to reduce the

intensity to 0.80 W mm – 2 ?   (3)

(b) An X-ray tube works by accelerating electrons through a potential of 65 kV towards a target.

(i) Show that the energy of an electron arriving at the target is approximately 1 x 10 - 14 J.   (2)

(ii) Assuming that the usual kinetic energy formula is valid, calculate the theoretical speed reached by an electron.   (3)

(iii) What happens to the energy of the electrons when they strike the X-ray tube target?   (2)

(iv) A typical X-ray tube has an efficiency of less than 1.

List two features of an X-ray tube target that enable it to cope with this low efficiency.  (2)

(c) An ultrasound image of a 19-week-old unborn baby

is shown opposite.

(i) Is this an A-scan or a B-scan?  (1)

(ii) Outline the principles for producing such a scan,

with reference to the above image.

You may be awarded a mark for the clarity of

your answer.   (5)

(d) (i) Define each of the following in terms of a

radioactive tracer which may be given to a patient.

Radioactive half-life;

Biological half-life;

Effective half-life       (3)

(ii) An isotope of iodine 125I has an

effective half-life of 16 days when it

is used to label the human serum albumin.

If it has a radioactive half-life of 60 days

calculate its biological half-life.  (3)

(iii) On a copy of the axes opposite sketch

two curves, one showing the activity of

the 125I within a patient and the other

showing the activity of an identical sample

that was kept in a laboratory.

Label your curves P (patient) and E (laboratory).   (3)

(iv) What type of radiation should 125I emit in order to be used as a tracer?

Justify your answer.  (2)

Total 32 marks