GAUTENG DEPARTMENT OF EDUCATION SENIOR CERTIFICATE EXAMINATION PLUMBING AND SHEET METALWORK SG TIME: 3 hours MARKS: 200

| INSTRUCTIONS: - Answer ALL the questions. - Please detach pages 5 to 8 and place it alongside the relevant question for ease of reference. - Question 2.1 should be answered on the diagram sheet on page 8. - Question 8 and all the other sketches have to be done in the answer book. |  |
| --- | --- |

| QUESTION 1 |  |
| --- | --- |

| 1.1 Name SIX areas in the water supply chain that need specific attention in order to prevent cholera. - Name FIVE organisms that can pollute water. - Name THREE types of filters that are suitable for water purification. - List the factors that cause pollution in a swimming pool. - What is the purpose of backwashing and how is it done? - Why is water aerated? | (6) (5) (3) (5) (4) (2) [25] |
| --- | --- |

| QUESTION 2 |  |
| --- | --- |

| Seweraging Answer this question on the diagram sheet on page 8. 2.1 The diagram on page 8 shows a partial plan of a house with outbuildings where the sanitary wall fitments are indicated by numbers. Design an efficient, suitable sewerage system that conforms to all regulations. 2.2 On completion of the lay-out of a sewerage system, you are requested to inspect the job. Name FIVE important aspects of the construction to which you will pay attention. | (15) (10) [25] |
| --- | --- |

| QUESTION 3 |  |
| --- | --- |

| - How would you implement industrial housekeeping in your plumbing workshop? - What safety precaution would you take when using each of the following apparatus? 3.2.1 Treadle guillotine 3.2.2 Oxyacetylene welding machine - How would you solve the problem of a leaking tap? - What safety measures would you prescribe to prevent the possible transmitting of Aids in the workshop? - Name THREE causes of accidents in the workshop. | (4) (3) (5) (4) (6) (3) [25] |
| --- | --- |

| QUESTION 4 |  |
| --- | --- |

| Tools, working techniques and methods Figures A – L on pages 5 and 6 show a number of working techniques and methods used. Study the sketches carefully and answer the following questions. 4.1 Write the letters A – L below each other and name the technique or method used in each case. 4.2 Write the numbers 1 – 13 below each other and name the tools or equipment indicated by the arrow. | (12) (13) [25] |
| --- | --- |

| QUESTION 5 |  |
| --- | --- |

| 5.1 Explain how the intervals are regulated between each flushing of an automatic cistern. - Where and for what purpose would you use slop hoppers? - Show by means of a labelled cross-sectional drawing the design and layout you would use to instal a slab urinal. - List SIX steps that can be taken to prevent cholera. | (2) (5) (12) (6) [25] |
| --- | --- |

| QUESTION 6 |  |
| --- | --- |

| 6.1 Name THREE principles of heating that you regard as important and give an example of how each is applied in a central heating system. 6.2 Design and draw a labelled diagrammatic sketch of a central heating system for a three-storey building. Make use of three radiators on each floor and arrange the pipes according to the two-pipe dropping system. Indicate the flow of water by means of arrows. 6.3 According to which TWO methods are the pipes of a central heating system arranged? | (9) (14) (2) [25] |
| --- | --- |

| QUESTION 7 |  |
| --- | --- |

| Ventilation and central air-conditioning 7.1 Name, in sequence, SIX important stages in the treatment of the air in a large air-conditioning system. Give a short description of each stage. 7.2 Name the type of ventilation system you would recommend in each of the following instances: - A school classroom - The kitchen in a hostel - A large theatre 7.3 Name THREE aids which could assist the natural ventilation of a building. 7.4 What are the major advantages of natural ventilation over mechanical ventilation? | (12) (6) (6) (1) [25] |
| --- | --- |

| QUESTION 8 |  |
| --- | --- |

| Pattern development - Name the method you would apply to develop the following patterns: 8.1.1 An oblique cone 8.1.2 A square-to-round transition piece - Figure 8 on page 7 shows two views of a square-to-square transitional piece tapered from 56 mm to 38 mm. Copy the given views full size and develop the pattern. NOTE: The position of the groove joint is indicated by point E-E. TOTAL: | (4) (21) [25] 200 |
| --- | --- |

| A. B. 1 C. D. 4 E. F. 5 |  |
| --- | --- |

| G. H. I. J. K. L. |  |
| --- | --- |

| Figure 8 |  |
| --- | --- |

| DIAGRAM SHEET |  |
| --- | --- |

| CANDIDATE’S EXAMINATION NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| - Answer Question 2.1 on this diagram sheet. - Once you have completed Question 2.1, please detach this page and place it at the back of your answer book. |  |
| --- | --- |

|  | Stort | 1 | Shower |  |
| --- | --- | --- | --- | --- |
|  | Wastrog | 2 | Washing trough |  |
|  | Opwasbak | 3 | Sink |  |
|  | Bad | 4 | Bath |  |
|  | Spoelkloset | 5 | Water closet |  |
|  | Handewasbak | 6 | Hand wash basin |  |

| Municipal Main Sewage |  |
| --- | --- |