- SCHOOL OF ENGINEERING

MODULAR HONOURS DEGREE COURSE

LEVEL 1

## SEMESTER 2

1998/99

EXPERIMENTAL METHODS

Examiners : Mr J Lomax/Dr M Philip

_________________________________________________________________________

Attempt FOUR questions only.	                            Time allowed = 3 hours

Total number of questions = 5

Write the answer to each question in a different answer book.

This is an Open Book examination.

- All questions carry equal marks

The figures in brackets indicate the relative weightings

of parts of a questions.

Special requirements :	Linear Graph Paper

Short Answer book (5)

A4 Tracing paper.

- 1.	Experimental methods experiment

(a)	Record the ten results you found in the repeatability test of EXP11 section (b), and comment on reasons for the variation.	(6)

(b)	Calculate the mean and standard deviation of these results.  State what percentage of the results should be within the standard deviation {the brief for EXP12 may help}.	(6)

(c)  	Plot the results you obtained in EXP11 section c for stretch 'y' versus force 'f' and from this determine the coefficients 'a' and 'b' in the formula y = a.f + b.	(6)

d)	Plot log(y) versus log(f) and from this determine the coefficients 'p' and 'q' in the

formula y = p.q2.	(7)

- 2.	 Materials experiment MAT11

(a) 	State which of the two frame-works  you used and the inner and outer diameters of the aluminium tubes involved. Calculate the force and the strain in links 'AB'  and 'EB' if a force 'F' of 100 N were applied at the end of the frame work at point 'C'. Assume that the Elastic Modulus was as prompted by the program 'FRAME' specified in MAT11 	(8)

(b) 	Draw a single graph for link AB of strain versus varying force applied at point 'C'. This single graph should show :

- one curve for the values found experimentally

- one curve for the values found from the computer program

- one  single value for the strain you  calculated in section (a)

Discuss the variations and explain the meaning and reason for any hysteresis found 	(8)

(c) 	Use the results obtained to demonstrate the Principle of Superposition as may be shown from applying loads at point C and D separately and then simultaneously. Discuss the significance of this principle.

A		  B

C

E

D

(9)

3.	Thermofluids experiment THF 12

(a) 	State the ambient temperature and pressure measured during the test .

For the condition when the valve was fully open, record in a table the results you found at the three sections noted below for (i)  manometer reading, (ii) manometer slope,  (iii) manometer head, (iv) velocity and (v) flow  The sections are the  :

- venturi

- single reading from the pitot-static tube when centrally located

-      orifice plate

State likely reasons for differences in the measured flow between these sections.	(8)

(b)	Calculate the flow based on the mean of the nine individual velocities determined in the pitot-static section, and state how this flow compares with the flow based on the single centrally mounted tube and comment on reasons for any variations.	(8)

(c)  	Determine the mass flow (kg/s) based on the venturi velocity with the valve fully open.  Discuss why and how this mass flow will vary if during a test the temperature increased and the barometric pressure remained constant.	(9)

4.	Electrical  Experiments ELE 11 & ELE 12

(a)	For experiment ELE11 with a DC voltage 'Vs'  applied to a resistor 'r' and 				capacitor 'c' in series :

[9]4.	 Electrical Experimentsa)	For experiment ELE11  with a DC voltage  'Vs'  applied to a resistor 'r' and capacitor 'c' in series:

- (i)	Sketch the graph of Voltage across the resistor 'Vr' versus time 't' that was

found in  the experiment	(5)								        [5]

- (ii)	Plot a graph of Vr = Vs/(e)t/c.r for Vs =10 V over the range 0 to 3 s and

- comment on the reason for any differences between this theoretical result

- and the experimental curve 	 (5)

(iii) 	Determine the time constant T = c.r by calculation and from the graph	(5)

(b) 	For experiment ELE12 plot the wave-forms found when applying an ac voltage to the circuits shown as Fig 2, 7 & 8. Explain the reasons for the variations.	(10)

5.	Manufacturing Experiment MAN13

a)	Describe three of the following features of the CMM, paying particular attention

to how the design and manufacture contributes to the instrument's functionality:

- The  framework and floor mounting.

- The  measuring table and datum ball.

- The touch trigger probe including ball, stem and quill.

iv)          The gantry  and positional transducers.	(15)

b)	A small manufacturing company have 100 pump bodies (Figure 1) to test using the
 		CMM.  Describe how the CMM may be programmed so that the pump bodies can

be measured using a common procedure.  You should describe preparation of the
        		measured item, calibration and alignment of equipment and one example of

feature measurement.	(10)

Pocket diameter 40mm, centre at centre of main body, 15mm deep.

20

50

Figure 1

All dimensions in mm

NOT TO SCALE

150